## Slide 1: Instructions to Run a sample dataset in InfernoRDN (previously DAnTE)
Ashoka Polpitiya

## Slide 2: Data
Two conditions – A and B
Each condition has three samples run in duplicates.
This results in 12 runs in the dataset.

## Slide 3: Related files
MT_AbundanceData.csv : MassTags (peptides) and their abundance values.
ProtInfo.csv : MassTags to Protein relationships.
bioinformatics_supplement.dnt : Session file saved with the resulting data.

## Slide 4: Summary of analysis
Data loading
Factor definitions
Log transform
Correlation plot
Normalization
  Central tendency adjustment
Rollup to proteins
Plot rollup results
ANOVA on proteins
Filter proteins with p < 0.05
Cluster heatmap

## Slide 5: Data loading
Menu: File  Open  Expression File
Step 1
Step 2

## Slide 6: Data loading
Menu: File  Open  MassTag -Protein File
Step 1
Step 2

## Slide 7: Factor definitions
Menu: Statistics  Define Factors
Define two factors
  Condition with two levels (A and B)
  Replicates with 6 levels (1 … 6, each corresponds to a sample)

## Slide 8: Log transform
Select the ‘Expressions’ table
Menu: Pre-Process  Log Transform

## Slide 9: Correlation plot
Possible outlier
Menu: Plot  Correlation

## Slide 10: Other plots
Q-Q plots (Menu: Plot  Q-Q Plot)
Histograms (Menu: Plot  Histograms)
Boxplots (Menu: Plot  Boxplots)
… etc.

## Slide 11: Normalization
Lets perform a central tendency adjustment
Menu: Pre-Process  Central Tendency

## Slide 12: Normalization
Before
After

## Slide 13: Rollup to proteins
Menu: Rollup  RRollup

## Slide 14: Plot rollup results
Menu: Plot  Protein Rollup

## Slide 15: ANOVA
Menu: Statistics  ANOVA
Results – p and q values
Note: ANOVA results are similar to t-test in this case since there are only two conditions

## Slide 16: Filter based on p-value
Menu: Tools  p/q-value Filter
 results in 59 proteins

## Slide 17: Cluster heatmap
Select ‘Filtered Data’
Menu: Plot  Heatmap
K-means cluster heatmap of 59 significant proteins